## Sheet1
Fault 2022-02-18 23:08:43
Fault Number | Building Trade | Trade Category | Type of Fault | Impact | Site | Building | Floor | Room | Cancel Status | Reported Date | Fault Acknowledged Date | Responded on Site Date | RA Conducted Date | Work Started Date | Work Completed Date | Attended By | Action(s) Taken | Other Trades Required Date | Cost Cap Exceed Date | Assistance Requested Date | Fault Reference | End User Priority | Incident Report | Remarks
FID6872 | Electrical | Exit light | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 11 | Wing A |  | 2022-01-27 15:58:50 | 2022-02-03 09:12:44 | 2022-02-03 09:13:03 | 2022-02-03 09:13:19 | 2022-02-03 09:13:38 | 2022-02-03 09:13:56 | Cindy Ngoh | exit lights replaced done
FID6871 | Electrical | Exit light | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 09 | Wing A - Entrance Area |  | 2022-01-27 15:56:04 | 2022-02-03 09:15:37 | 2022-02-03 09:16:00 | 2022-02-03 09:16:17 | 2022-02-03 09:16:33 | 2022-02-03 09:16:59 | Cindy Ngoh | exit lights replaced done
FID6858 | Mechanical | Air Conditioning System | Noisy | Affecting Public | Connection One | Tower 4 | Collaboration Hub | Collab Hub - Reception |  | 2022-01-27 11:43:08 | 2022-01-27 15:39:03 | 2022-01-27 15:39:24 | 2022-01-27 15:39:57 | 2022-01-27 15:40:12 | 2022-01-27 15:41:28 | Lee Shi Ting | adjusted filters
FID6857 | Plumbing & Sanitary | Urinal | Leaking | Affecting Public | Connection One | Tower 5 | 11 | Wing A - Male Toilet |  | 2022-01-27 11:35:09 | 2022-01-27 11:37:56 | 2022-01-27 11:38:55 | 2022-01-27 11:40:11 | 2022-01-27 11:40:33 | 2022-01-27 11:41:58 | Lee Shi Ting | replaced new push button
FID6815 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 23 | Wing B - CDR |  | 2022-01-26 17:30:35 | 2022-01-27 15:36:31 | 2022-01-27 15:36:45 | 2022-01-27 15:36:59 | 2022-01-27 15:37:12 | 2022-01-27 15:37:36 | Lee Shi Ting | work done
FID6814 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 23 | Wing B - AVMR 23-3 |  | 2022-01-26 17:29:51 | 2022-01-28 09:50:34 | 2022-01-28 09:50:49 | 2022-01-28 09:51:29 | 2022-01-28 09:52:06 | 2022-01-28 10:26:46 | Lee Shi Ting | replaced 4 pin plc
FID6668 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 19 | Wing B | approved | 2022-01-24 16:23:23
FID6657 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 10 | Wing B |  | 2022-01-24 15:04:00 | 2022-02-03 10:08:32 | 2022-02-03 10:08:45 | 2022-02-03 10:11:32 | 2022-02-03 10:11:48 | 2022-02-03 10:12:18 | Cindy Ngoh | T5 28w light
FID6656 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 10 | Wing A |  | 2022-01-24 15:03:15 | 2022-01-26 11:47:03 | 2022-01-26 11:55:25 | 2022-02-03 09:45:50 | 2022-02-03 09:46:13 | 2022-02-03 09:46:54 | Cindy Ngoh | rewiring done
FID6655 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 19 | Wing B |  | 2022-01-24 14:59:29 | 2022-01-26 11:23:52 | 2022-01-26 11:24:04 | 2022-01-26 11:25:30 | 2022-01-26 11:26:04 | 2022-01-26 11:27:18 | Lee Shi Ting | replaced tube
FID6654 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 15 | Wing A |  | 2022-01-24 14:58:20 | 2022-01-26 11:41:39 | 2022-01-26 11:41:51 | 2022-01-26 11:42:04 | 2022-01-26 11:42:16 | 2022-01-26 11:42:38 | Lee Shi Ting | wotk done
FID6634 | Building | Water Dispenser | Other: no hot water | Affecting Public | Connection One | Tower 1 | 26 | Wing A - Pantry |  | 2022-01-24 11:34:25 | 2022-01-24 11:34:48 | 2022-01-24 11:35:02 | 2022-01-24 11:35:17 | 2022-01-24 11:35:32 | 2022-01-24 11:35:47 | Cindy Ngoh | Rectify done.
FID6624 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 23 | Wing B |  | 2022-01-24 10:07:32 | 2022-01-24 10:08:49 | 2022-01-24 10:09:03 | 2022-01-24 10:09:56 | 2022-01-24 10:10:10 | 2022-01-24 10:10:29 | Cindy Ngoh | Replace t5 14w 2 tubes done
FID6615 | Plumbing & Sanitary | Basin / sink | Leaking | Affecting Public | Connection One | Tower 1 | 23 | Wing B - Pantry 2 |  | 2022-01-24 08:56:45 | 2022-01-24 09:14:53 | 2022-01-24 09:15:06 | 2022-01-24 09:15:20 | 2022-01-24 09:15:34 | 2022-01-24 09:15:49 | Cindy Ngoh | 3M filter Elbow spoil disconnect the 3M filter
FID6614 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Affecting Public | Connection One | Tower 1 | 23 | Wing B |  | 2022-01-24 08:53:39 | 2022-01-24 08:54:09 | 2022-01-24 08:54:23 | 2022-01-24 08:54:37 | 2022-01-24 08:54:50 | 2022-01-24 08:55:07 | Cindy Ngoh | Reset back to normal
FID6498 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 15 | Wing B |  | 2022-01-21 14:38:27 | 2022-01-21 14:38:47 | 2022-01-21 14:39:02 | 2022-01-21 14:40:43 | 2022-01-21 14:41:24 | 2022-01-21 14:42:24 | Cindy Ngoh | Replaced t5 28w 5 no's and t5 14w 3 no's
FID6458 | Public Reporting | Electrical | NA | Localised to room | Connection One | Tower 1 | 20 | Wing A |  | 2022-01-20 19:13:56 | 2022-01-21 14:31:23 | 2022-01-21 14:31:43 | 2022-01-21 14:32:45 | 2022-01-21 14:33:01 | 2022-01-21 14:33:21 | Cindy Ngoh | Replace the T5 14w light tube 3 nos done | [6 empty] | To replace light fitting at Workspace 14 (Vincent Tong)
FID6391 | Cleaning | Faulty Flush Button |  | Localised to room | Connection One | Tower 1 | 10 | Wing A - Male Toilet |  | 2022-01-19 16:45:12 | 2022-01-21 14:27:02 | 2022-01-21 14:27:27 | 2022-01-21 14:27:42 | 2022-01-21 14:27:57 | 2022-01-21 14:28:16 | Cindy Ngoh | Urinal push button stuck service the push button
FID6302 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 |  |  | approved | 2022-01-18 17:14:41 | 2022-01-18 17:14:59
FID6235 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 10 | Wing B |  | 2022-01-17 15:24:44 | 2022-01-17 15:25:05 | 2022-01-17 15:25:21 | 2022-01-17 15:26:21 | 2022-01-17 15:26:35 | 2022-01-17 15:27:00 | Cindy Ngoh | Replace the T5 28w 2nos light tube done
FID6224 | Office and Furniture | Cabinet | Cannot open / close | Affecting Public | Connection One | Tower 5 | 09 | Wing B |  | 2022-01-17 12:13:08 | 2022-01-17 12:13:33 | 2022-01-17 12:13:50 | 2022-01-17 12:14:08 | 2022-01-17 12:14:23 | 2022-01-17 12:14:40 | Cindy Ngoh | rectify
FID6206 | Plumbing & Sanitary | Basin / sink | Leaking | Affecting Public | Connection One | Tower 1 | 23 | Wing B - Pantry 2 |  | 2022-01-17 09:28:21 | 2022-01-17 09:28:48 | 2022-01-17 09:29:03 | 2022-01-17 09:29:19 | 2022-01-17 09:29:36 | 2022-01-17 09:29:55 | Cindy Ngoh | T1l23 replaced mini valve and filter done.
FID6204 | Plumbing & Sanitary | Basin / sink | Other: L27 pantry sink filter replaced done | Affecting Public | Connection One | Tower 1 | 27 | Wing A - Pantry |  | 2022-01-17 09:21:50 | 2022-01-17 09:22:08 | 2022-01-17 09:22:45 | 2022-01-17 09:24:35 | 2022-01-17 09:25:06 | 2022-01-17 09:25:37 | Cindy Ngoh | L27 pantry sink filter replaced done
FID6203 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 11 | Wing B |  | 2022-01-17 09:13:37 | 2022-01-17 09:13:58 | 2022-01-17 09:14:19 | 2022-01-17 09:14:38 | 2022-01-17 09:14:53 | 2022-01-17 09:15:08 | Cindy Ngoh | T5l11 3 no's light fittings rewiring done
FID6201 | Plumbing & Sanitary | Bottle Trap | Leaking | Affecting Public | Connection One | Tower 1 | 20 | Wing A - Female Toilet |  | 2022-01-17 09:06:55 | 2022-01-17 09:07:13 | 2022-01-17 09:07:29 | 2022-01-17 09:09:06 | 2022-01-17 09:11:01 | 2022-01-17 09:11:21 | Cindy Ngoh | replaced bottle trap
FID6198 | Plumbing & Sanitary | Tap | Damaged / Loose / Cracked | Affecting Public | Connection One | Tower 5 | 10 | Wing A - Male Toilet |  | 2022-01-17 08:52:33 | 2022-01-17 08:52:51 | 2022-01-17 08:53:08 | 2022-01-17 08:54:34 | 2022-01-17 08:54:52 | 2022-01-17 08:55:09 | Cindy Ngoh | replaced basin water tap done
FID6196 | Building | Door Closer | Unable to open or close properly | Affecting Public | Connection One | Tower 5 | 09 | Wing A |  | 2022-01-17 08:45:30 | 2022-01-17 08:45:50 | 2022-01-17 08:46:04 | 2022-01-17 08:46:30 | 2022-01-17 08:46:47 | 2022-01-17 08:47:32 | Cindy Ngoh | door alignment adjusted
FID6195 | Building | Wall Hook | Other: relocate 2 nos. fire extinguisher | Affecting Public | Connection One | Tower 1 | 26 | Wing A |  | 2022-01-17 08:40:47 | 2022-01-17 08:41:07 | 2022-01-17 08:41:22 | 2022-01-17 08:41:37 | 2022-01-17 08:41:50 | 2022-01-17 08:42:06 | Cindy Ngoh | L26 relocated fire extinguishers done
FID6085 | Office and Furniture | Telephone | No dial tone / not connected | Affecting Public | Connection One | Tower 1 | 23 | Wing A |  | 2022-01-14 14:49:43 | 2022-01-14 14:50:16 | 2022-01-14 14:50:38 | 2022-01-14 14:50:53 | 2022-01-14 14:51:41 | 2022-01-14 14:52:04 | Cindy Ngoh | Change phone port
FID6057 | Plumbing & Sanitary | Basin / sink | Leaking | Affecting Public | Connection One | Tower 1 | 26 | Wing A - Pantry |  | 2022-01-14 09:03:39 | 2022-01-17 08:27:26 | 2022-01-17 08:27:42 | 2022-01-17 08:27:56 | 2022-01-17 08:28:11 | 2022-01-17 08:28:30 | Cindy Ngoh | L26 pantry bottle trap leaking rectify done
FID6038 | Office and Furniture | Telephone | Other: iPad stand loose | Affecting Public | Connection One | Tower 4 | Collaboration Hub | Collab Hub - One North |  | 2022-01-13 17:01:00 | 2022-01-13 17:01:41 | 2022-01-13 17:01:57 | 2022-01-13 17:02:13 | 2022-01-13 17:02:31 | 2022-01-13 17:02:58 | Cindy Ngoh | tighten done
FID6036 | Electrical | Socket | Unserviceable | Affecting Public | Connection One | Tower 4 | Collaboration Hub | Collab Hub - Reception |  | 2022-01-13 16:53:40 | 2022-01-13 16:53:59 | 2022-01-13 16:54:13 | 2022-01-13 16:54:30 | 2022-01-13 16:54:44 | 2022-01-13 16:55:09 | Cindy Ngoh | reset
FID6033 | Building | Wall | Misaligned / dangling | Affecting Public | Connection One | Tower 1 | 27 | Wing A - Reception Area |  | 2022-01-13 16:34:30 | 2022-01-24 08:50:39 | 2022-01-24 08:50:51 | 2022-01-24 08:51:05 | 2022-01-24 08:51:18 | 2022-01-24 08:51:35 | Cindy Ngoh | T1 level 27 metal piece fixed done
FID5879 | Electrical | Light Fitting | Other: remove the Xmas lighting | Affecting Public | Connection One | Tower 4 | Collaboration Hub | Collaboration Hub |  | 2022-01-11 11:55:43 | 2022-01-11 11:56:10 | 2022-01-11 11:56:24 | 2022-01-11 11:59:50 | 2022-01-11 12:00:05 | 2022-01-11 12:00:29 | Cindy Ngoh | Lighting removed
FID5869 | Building | Door Lock | Misaligned / dangling | Affecting Public | Connection One | Tower 1 | 01 | Reception |  | 2022-01-11 09:54:07 | 2022-01-11 09:54:26 | 2022-01-11 09:54:43 | 2022-01-11 09:54:57 | 2022-01-11 09:55:12 | 2022-01-11 09:55:38 | Cindy Ngoh | Em lock support medal push ready
FID5865 | Plumbing & Sanitary | Flush Button | Water flowing non-stop | Affecting Public | Connection One | Tower 1 | 10 | Wing A - Female Toilet |  | 2022-01-11 08:56:13 | 2022-01-11 08:56:47 | 2022-01-17 08:34:50 | 2022-01-17 08:35:03 | 2022-01-17 08:35:21 | 2022-01-17 08:35:49 | Cindy Ngoh | T1l10 female toilet flush button rectify
FID5864 | Building | Ceiling | Dirty / Odour | Affecting Public | Connection One | Tower 1 | 10 | Wing A |  | 2022-01-11 08:55:01 | 2022-01-11 08:57:12 | 2022-01-17 08:25:11 | 2022-01-17 08:25:27 | 2022-01-17 08:25:43 | 2022-01-17 08:26:02 | Cindy Ngoh | T1l10 replaced return air grill
FID5863 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 10 | Wing A |  | 2022-01-11 08:53:50 | 2022-01-13 16:29:20 | 2022-01-13 16:29:35 | 2022-01-13 16:30:43 | 2022-01-13 16:31:04 | 2022-01-13 16:31:34 | Cindy Ngoh | T5 28w 1 no. replaced
FID5862 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 15 | Wing B - PABX Room |  | 2022-01-11 08:52:51 | 2022-01-13 12:22:55 | 2022-01-13 12:24:21 | 2022-01-13 12:24:36 | 2022-01-13 12:24:51 | 2022-01-13 12:25:30 | Cindy Ngoh | T5 28w 1 no. replaced
FID5861 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 19 | Wing B |  | 2022-01-11 08:52:01 | 2022-01-13 12:27:38 | 2022-01-13 12:27:52 | 2022-01-13 12:29:26 | 2022-01-13 12:29:41 | 2022-01-13 12:30:08 | Cindy Ngoh | T5 28w 2 nos replaced
FID5860 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 19 | Wing A |  | 2022-01-11 08:51:15 | 2022-01-13 12:31:47 | 2022-01-13 12:32:02 | 2022-01-13 12:37:45 | 2022-01-13 12:38:01 | 2022-01-13 12:39:00 | Cindy Ngoh | Replaced T5 28w - 2 nos 13w 4 pins - 2 nos
FID5811 | Safe Management Measures | Safe Distance (1m between Person) | Other: excess chairs in the room. | Localised to room | Connection One | Tower 1 | 22 | Wing A |  | 2022-01-10 17:03:56 | 2022-01-10 17:04:14 | 2022-01-10 17:04:28 | 2022-01-10 17:04:43 | 2022-01-10 17:04:58 | 2022-01-10 17:05:25 | Cindy Ngoh | Removed excess chairs in the room.
FID5810 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 09 | Wing A |  | 2022-01-10 16:52:37 | 2022-01-10 16:53:04 | 2022-01-10 16:53:24 | 2022-01-10 16:53:38 | 2022-01-10 16:53:55 | 2022-01-10 16:54:22 | Cindy Ngoh | Replaced the LED light
FID5793 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | Affecting Public | Connection One | Tower 5 | 09 | Wing B |  | 2022-01-10 12:27:25 | 2022-01-10 12:27:43 | 2022-01-10 12:27:57 | 2022-01-10 12:28:18 | 2022-01-10 12:28:31 | 2022-01-10 12:28:47 | Cindy Ngoh | T5 level 9 wing B soo noy work station power point Rewiring
FID5791 | Electrical | Socket Outlet | Misaligned / dangling | Affecting Public | Connection One | Tower 4 | Collaboration Hub | Collab Hub - One North |  | 2022-01-10 12:14:09 | 2022-01-10 12:15:29 | 2022-01-10 12:15:46 | 2022-01-10 12:16:00 | 2022-01-10 12:16:14 | 2022-01-10 12:16:29 | Cindy Ngoh | T4 level 3 one north meeting table power point fixed
FID5787 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Affecting Public | Connection One | Tower 5 | 11 | Wing B |  | 2022-01-10 11:45:58 | 2022-01-10 11:55:01 | 2022-01-10 11:55:20 | 2022-01-10 11:55:36 | 2022-01-10 11:55:50 | 2022-01-10 11:56:21 | Cindy Ngoh | Check and found cdr room ups faulty cannot reset disconnect the ups supply and connect to Normal supply
FID5786 | Plumbing & Sanitary | Flush Button | Water flowing non-stop | Affecting Public | Connection One | Tower 1 | 10 | Wing A - Female Toilet |  | 2022-01-10 11:43:17 | 2022-01-10 11:43:41 | 2022-01-10 11:43:56 | 2022-01-10 11:44:10 | 2022-01-10 11:44:26 | 2022-01-10 11:44:45 | Cindy Ngoh | Rectify done
FID5785 | Electrical | Exit light | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 08 | Wing B |  | 2022-01-10 11:31:22 | 2022-01-10 11:31:40 | 2022-01-10 11:31:53 | 2022-01-10 11:32:12 | 2022-01-10 11:32:25 | 2022-01-10 11:33:18 | Lee Shi Ting | replaced light tube
FID5662 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 10 | Wing B | approved | 2022-01-07 14:11:36
FID5661 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 11 | Wing B |  | 2022-01-07 14:09:08 | 2022-01-10 11:32:33 | 2022-01-10 11:32:48 | 2022-01-10 11:33:02 | 2022-01-10 11:33:17 | 2022-01-10 11:33:54 | Cindy Ngoh | Replaced
FID5660 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 11 | Wing A |  | 2022-01-07 14:08:30 | 2022-01-10 11:34:39 | 2022-01-10 11:34:55 | 2022-01-10 11:35:19 | 2022-01-10 11:35:44 | 2022-01-10 11:36:06 | Cindy Ngoh | replaced
FID5659 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 13 | Wing A |  | 2022-01-07 14:04:15 | 2022-01-10 11:28:14 | 2022-01-10 11:28:29 | 2022-01-10 11:28:44 | 2022-01-10 11:28:57 | 2022-01-10 11:29:38 | Cindy Ngoh | replaced
FID5640 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 10 | Wing B |  | 2022-01-07 11:49:12 | 2022-01-10 11:38:40 | 2022-01-10 11:39:01 | 2022-01-10 11:39:20 | 2022-01-10 11:39:36 | 2022-01-10 11:39:58 | Cindy Ngoh | replaced
FID5629 | Electrical | Light Fitting | Dim / faint | Affecting Public | Connection One | Tower 5 | 08 | Wing A |  | 2022-01-07 09:20:35 | 2022-01-07 09:49:49 | 2022-01-07 11:38:15 | 2022-01-07 11:39:03 | 2022-01-07 11:39:54 | 2022-01-07 11:41:00 | Cindy Ngoh | Led light replaced.
FID5628 | Building | Ceiling | Chipped / Cracked | Affecting Public | Connection One | Tower 5 | 09 | Wing B |  | 2022-01-07 09:17:02 | 2022-01-10 12:30:09 | 2022-01-10 12:30:27 | 2022-01-10 12:30:42 | 2022-01-10 12:30:57 | 2022-01-10 12:31:14 | Cindy Ngoh | T5 level 9 wing B ceiling board replaced
FID5626 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 09 | Wing A |  | 2022-01-07 09:15:28 | 2022-01-07 10:21:22 | 2022-01-07 10:22:34 | 2022-01-07 10:27:47 | 2022-01-07 10:28:10 | 2022-01-07 10:28:33 | Cindy Ngoh | LED light replaced
FID5625 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 08 | Wing B |  | 2022-01-07 09:12:51 | 2022-01-07 10:25:55 | 2022-01-07 10:26:19 | 2022-01-07 10:26:36 | 2022-01-07 10:26:52 | 2022-01-07 10:27:16 | Cindy Ngoh | LED light replaced
FID5624 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 5 | 08 | Wing A |  | 2022-01-07 09:12:10 | 2022-01-07 10:23:44 | 2022-01-07 10:23:59 | 2022-01-07 10:24:14 | 2022-01-07 10:24:29 | 2022-01-07 10:25:14 | Cindy Ngoh | LED light replaced
FID5585 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Affecting Public | Connection One | Tower 5 | 11 | Wing A - Male Toilet |  | 2022-01-06 14:45:14 | 2022-01-06 14:45:35 | 2022-01-06 14:45:51 | 2022-01-06 14:46:09 | 2022-01-06 14:48:51 | 2022-01-06 14:50:00 | Lee Shi Ting | all cubicle normal
FID5564 | Electrical | Light Fitting | Other: light cannot turn off | Affecting Public | Connection One | Tower 1 | 02 | Courage Room |  | 2022-01-06 10:59:44 | 2022-01-06 11:01:32 | 2022-01-06 11:01:52 | 2022-01-06 11:02:23 | 2022-01-06 11:02:49 | 2022-01-06 11:03:20 | Cindy Ngoh | done
FID5563 | Plumbing & Sanitary | Flush Button | Damaged / Loose / Cracked | Affecting Public | Connection One | Tower 1 | 19 | Wing A - Female Toilet |  | 2022-01-06 10:57:32 | 2022-01-06 10:58:12 | 2022-01-06 10:58:27 | 2022-01-06 10:58:42 | 2022-01-06 10:58:56 | 2022-01-06 10:59:18 | Lee Shi Ting | fixed back cover
FID5518 | Electrical | Emergency Light | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 23 | Wing B |  | 2022-01-05 15:17:07 | 2022-01-10 11:59:13 | 2022-01-10 12:00:10 | 2022-01-10 12:42:23 | 2022-01-10 12:42:39 | 2022-01-10 12:43:42 | Cindy Ngoh | UFO light replaced
FID5517 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 23 | Wing B - Plotter Room |  | 2022-01-05 15:16:02 | 2022-01-06 12:04:01 | 2022-01-06 12:04:16 | 2022-01-07 10:37:25 | 2022-01-07 10:37:41 | 2022-01-07 10:38:20 | Cindy Ngoh | T5 28w 2 nos. replaced
FID5486 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 22 | Wing B |  | 2022-01-05 08:43:32 | 2022-01-05 10:44:26 | 2022-01-05 10:45:22 | 2022-01-05 10:45:50 | 2022-01-05 10:46:03 | 2022-01-05 10:46:37 | Cindy Ngoh | T5 14w 1 no replaced
FID5485 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 20 | Wing B |  | 2022-01-05 08:42:39 | 2022-01-05 10:48:16 | 2022-01-05 10:49:46 | 2022-01-05 10:50:01 | 2022-01-05 10:50:21 | 2022-01-05 10:50:43 | Cindy Ngoh | E27 light 65w replaced
FID5483 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 20 | Wing A |  | 2022-01-05 08:41:50 | 2022-01-05 10:51:28 | 2022-01-05 10:51:44 | 2022-01-05 10:52:35 | 2022-01-05 10:52:49 | 2022-01-05 10:53:15 | Cindy Ngoh | T5 14w 1 no replaced
FID5400 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Affecting Public | Connection One | Tower 1 | 23 | Wing B |  | 2022-01-03 15:29:20 | 2022-01-03 15:29:39 | 2022-01-03 15:29:52 | 2022-01-03 15:30:08 | 2022-01-03 15:30:22 | 2022-01-03 15:30:39 | Cindy Ngoh | Reset back to normal
FID5399 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 27 | Wing A - Pantry |  | 2022-01-03 15:24:10 | 2022-01-03 15:24:29 | 2022-01-03 15:24:44 | 2022-01-03 15:24:58 | 2022-01-03 15:25:12 | 2022-01-03 15:25:29 | Cindy Ngoh | Fuse blown replaced
FID5398 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 23 | Wing A |  | 2022-01-03 15:16:45 | 2022-01-03 15:17:09 | 2022-01-03 15:18:06 | 2022-01-03 15:18:37 | 2022-01-03 15:19:03 | 2022-01-03 15:20:04 | Cindy Ngoh | replaced.
FID5381 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 19 | Wing B |  | 2022-01-03 12:02:44 | 2022-01-03 12:07:45 | 2022-01-04 15:32:56 | 2022-01-04 15:33:12 | 2022-01-04 15:33:26 | 2022-01-04 15:33:55 | Cindy Ngoh | replaced
FID5380 | Building | Ceiling | Dirty / Odour | Affecting Public | Connection One | Tower 1 | 15 | Wing B |  | 2022-01-03 12:00:13 | 2022-01-03 12:18:40
FID5379 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 15 | Wing B |  | 2022-01-03 11:57:53 | 2022-01-03 11:58:15 | 2022-01-04 15:40:08 | 2022-01-04 15:40:25 | 2022-01-04 15:40:40 | 2022-01-04 15:41:01 | Cindy Ngoh | replaced
FID5378 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 10 | Wing B |  | 2022-01-03 11:52:54 | 2022-01-03 12:12:26 | 2022-01-03 12:18:04 | 2022-01-04 15:45:40 | 2022-01-04 15:45:56 | 2022-01-04 15:46:25 | Cindy Ngoh | T5 14w 3 nos replaced
FID5377 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Connection One | Tower 1 | 10 | Wing A - Pantry 1 |  | 2022-01-03 11:52:03 | 2022-01-03 11:53:13 | 2022-01-03 11:53:25 | 2022-01-04 15:55:18 | 2022-01-04 15:55:50 | 2022-01-04 15:57:03 | Cindy Ngoh | replaced T5 14w 2 nos , 18w 2Pin PLC 1 nos.